## In scope - the 61
ID | System | Location | Owner | Entry source | Record types held | Part 11 determination | Closed / open
SYS-001 | Manufacturing execution system with electronic batch record | Ridgemont | Joachim Reuter | Register | RT-01, RT-02, RT-03, RT-04, RT-05, RT-10 | In scope — holds RT-01, RT-02, RT-03, RT-04, RT-05 | Closed
SYS-002 | Process historian | Ridgemont | Joachim Reuter | Register | RT-04 | In scope — holds RT-04 | Closed
SYS-003 | Blister packaging line 1 control and data system | Ridgemont | Joachim Reuter | Register | RT-06, RT-07, RT-08 | In scope — holds RT-06, RT-07, RT-08 | Closed
SYS-004 | Blister packaging line 2 control and data system | Ridgemont | Joachim Reuter | Register | RT-06, RT-07, RT-08 | In scope — holds RT-06, RT-07, RT-08 | Closed
SYS-005 | Bottling line 1 control and data system | Ridgemont | Joachim Reuter | Register | RT-06, RT-07, RT-08 | In scope — holds RT-06, RT-07, RT-08 | Closed
SYS-006 | Bottling line 2 control and data system | Ridgemont | Joachim Reuter | Register | RT-06, RT-07, RT-08 | In scope — holds RT-06, RT-07, RT-08 | Closed
SYS-007 | Cartoning line 3 control and data system | Ridgemont | Joachim Reuter | Register | RT-06, RT-07 | In scope — holds RT-06, RT-07 | Closed
SYS-008 | Serialisation and aggregation system | Ridgemont | Joachim Reuter | Register | RT-07, RT-35 | In scope — holds RT-07, RT-35 | Closed
SYS-009 | Vision inspection system, blister line 1 | Ridgemont | Joachim Reuter | Register | RT-08 | In scope — holds RT-08 | Closed
SYS-010 | Vision inspection system, blister line 2 | Ridgemont | Joachim Reuter | Register | RT-08 | In scope — holds RT-08 | Closed
SYS-011 | Checkweigher network, packaging hall | Ridgemont | Joachim Reuter | Walk | RT-08 | In scope — holds RT-08 | Closed
SYS-012 | Tablet press 1 control and data system | Ridgemont | Joachim Reuter | Register | RT-04 | In scope — holds RT-04 | Closed
SYS-013 | Tablet press 2 control and data system | Ridgemont | Joachim Reuter | Register | RT-04 | In scope — holds RT-04 | Closed
SYS-014 | Tablet press 3 control and data system | Ridgemont | Joachim Reuter | Register | RT-04 | In scope — holds RT-04 | Closed
SYS-015 | Fluid bed dryer control and data system | Ridgemont | Joachim Reuter | Register | RT-04 | In scope — holds RT-04 | Closed
SYS-016 | High-shear granulator control and data system | Ridgemont | Joachim Reuter | Register | RT-04 | In scope — holds RT-04 | Closed
SYS-017 | Tablet coater control and data system | Ridgemont | Joachim Reuter | Register | RT-04 | In scope — holds RT-04 | Closed
SYS-018 | Blender control and data system | Ridgemont | Joachim Reuter | Register | RT-03, RT-04 | In scope — holds RT-03, RT-04 | Closed
SYS-019 | Dispensary weighing and dispensing system | Ridgemont | Joachim Reuter | Register | RT-03 | In scope — holds RT-03 | Closed
SYS-020 | Capsule filler control and data system | Ridgemont | Joachim Reuter | Register | RT-04 | In scope — holds RT-04 | Closed
SYS-021 | Clean-in-place skid control system | Ridgemont | Joachim Reuter | Walk | RT-05 | In scope — holds RT-05 | Closed
SYS-022 | Parts washer cycle record system | Ridgemont | Joachim Reuter | Walk | RT-05 | In scope — holds RT-05 | Closed
SYS-023 | Chromatography data system, QC laboratory | Ridgemont | Dr Sunita Raghunathan | Register | RT-12, RT-13, RT-14, RT-15, RT-17 | In scope — holds RT-12, RT-13, RT-14, RT-15, RT-17 | Closed
SYS-024 | Chromatography data system, QC laboratory | Cary | Dr Sunita Raghunathan | Register | RT-12, RT-13, RT-14, RT-15, RT-17 | In scope — holds RT-12, RT-13, RT-14, RT-15, RT-17 | Closed
SYS-025 | LIMS, QC laboratory | Ridgemont | Dr Sunita Raghunathan | Register | RT-11, RT-18, RT-20, RT-24 | In scope — holds RT-11, RT-18, RT-20 | Closed
SYS-026 | LIMS, QC laboratory | Cary | Dr Sunita Raghunathan | Register | RT-11, RT-18, RT-20, RT-24 | In scope — holds RT-11, RT-18, RT-20 | Closed
SYS-027 | Dissolution workstation and data system | Ridgemont | Dr Sunita Raghunathan | Register | RT-11, RT-16 | In scope — holds RT-11, RT-16 | Closed
SYS-028 | Dissolution workstation and data system | Cary | Dr Sunita Raghunathan | Walk | RT-16 | In scope — holds RT-16 | Closed
SYS-029 | UV-visible spectrophotometer data system | Ridgemont | Dr Sunita Raghunathan | Register | RT-11 | In scope — holds RT-11 | Closed
SYS-030 | UV-visible spectrophotometer data system | Cary | Dr Sunita Raghunathan | Register | RT-11 | In scope — holds RT-11 | Closed
SYS-031 | FTIR spectrometer data system | Ridgemont | Dr Sunita Raghunathan | Register | RT-11 | In scope — holds RT-11 | Closed
SYS-032 | Karl Fischer titrator data system | Ridgemont | Dr Sunita Raghunathan | Register | RT-11 | In scope — holds RT-11 | Closed
SYS-033 | Particle size analyser data system | Ridgemont | Dr Sunita Raghunathan | Walk | RT-11 | In scope — holds RT-11 | Closed
SYS-034 | Stability chamber monitoring system | Ridgemont | Dr Sunita Raghunathan | Register | RT-20, RT-27 | In scope — holds RT-20, RT-27 | Closed
SYS-035 | Stability chamber monitoring system | Cary | Dr Sunita Raghunathan | Register | RT-20, RT-27 | In scope — holds RT-20, RT-27 | Closed
SYS-036 | Laboratory data archive and long-term retention store | Ridgemont data centre | Dr Sunita Raghunathan | Register | RT-11, RT-12, RT-13 | In scope — holds RT-11, RT-12, RT-13 | Closed
SYS-037 | Microbiology incubator and plate-count data system | Ridgemont | Dr Sunita Raghunathan | Walk | RT-25, RT-26 | In scope — holds RT-25, RT-26 | Closed
SYS-038 | Purified water online TOC and conductivity analyser | Ridgemont | Dr Sunita Raghunathan | Register | RT-28 | In scope — holds RT-28 | Closed
SYS-039 | Laboratory environmental monitoring data system | Cary | Dr Sunita Raghunathan | Walk | RT-25, RT-26 | In scope — holds RT-25, RT-26 | Closed
SYS-040 | Analytical instrument calibration management system | Vendor-hosted | Dr Sunita Raghunathan | Register | RT-19 | In scope — holds RT-19 | Closed
SYS-041 | Electronic quality management system | Vendor-hosted | Terrence Abbatiello | Register | RT-18, RT-21, RT-38, RT-39, RT-40, RT-41, RT-43, RT-45 | In scope — holds RT-18, RT-21, RT-38, RT-39, RT-40, RT-41, RT-43 | Closed
SYS-042 | Learning management system | Ridgemont data centre | Amara Sissoko | Register | RT-42 | In scope — holds RT-42 | Closed
SYS-043 | Enterprise resource planning system | Ridgemont data centre | Amara Sissoko | Register | RT-03, RT-07, RT-34, RT-35, RT-43 | In scope — holds RT-03, RT-07, RT-34, RT-35, RT-43 | Closed
SYS-044 | Warehouse management system | Ridgemont | Bernard Kwiatkowski | Register | RT-32, RT-34, RT-35, RT-44 | In scope — holds RT-32, RT-34, RT-35, RT-44 | Closed
SYS-045 | Warehouse environmental monitoring and mapping system | Ridgemont | Bernard Kwiatkowski | Register | RT-27, RT-32, RT-33 | In scope — holds RT-27, RT-32, RT-33 | Closed
SYS-046 | Cold-chain monitoring system, controlled-temperature storage | Ridgemont | Bernard Kwiatkowski | Walk | RT-32, RT-33 | In scope — holds RT-32, RT-33 | Closed
SYS-047 | Document management system, controlled procedures and specifications | Ridgemont data centre | Terrence Abbatiello | Register | RT-18, RT-39 | In scope — holds RT-18, RT-39 | Closed
SYS-048 | Complaint intake and medical information system | Ridgemont data centre | Terrence Abbatiello | Register | RT-41 | In scope — holds RT-41 | Closed
SYS-049 | Annual product review reporting and analytics system | Ridgemont data centre | Terrence Abbatiello | Register | RT-40 | In scope — holds RT-40 | Closed
SYS-050 | Computerised maintenance management system | Ridgemont | Bernard Kwiatkowski | Register | RT-05, RT-19 | In scope — holds RT-05, RT-19 | Closed
SYS-051 | Building management system, manufacturing suites | Ridgemont | Joachim Reuter | Register | RT-27 | In scope — holds RT-27 | Closed
SYS-052 | Building management system, warehouse | Ridgemont | Joachim Reuter | Register | RT-27, RT-32 | In scope — holds RT-27, RT-32 | Closed
SYS-053 | Environmental monitoring system, manufacturing | Ridgemont | Joachim Reuter | Register | RT-25, RT-26, RT-27 | In scope — holds RT-25, RT-26, RT-27 | Closed
SYS-054 | Purified water system control and monitoring | Ridgemont | Joachim Reuter | Register | RT-28 | In scope — holds RT-28 | Closed
SYS-055 | Compressed air and nitrogen quality monitoring system | Ridgemont | Joachim Reuter | Walk | RT-27 | In scope — holds RT-27 | Closed
SYS-056 | Serialisation repository and reporting system | Vendor-hosted | Bernard Kwiatkowski | Register | RT-35 | In scope — holds RT-35 | Closed
SYS-057 | Distribution and shipping execution system | Ridgemont | Bernard Kwiatkowski | Register | RT-35 | In scope — holds RT-35 | Closed
SYS-058 | Reserve sample store monitoring and inventory system | Ridgemont | Bernard Kwiatkowski | Walk | RT-27, RT-44 | In scope — holds RT-27, RT-44 | Closed
SYS-059 | Batch record archive and retention platform | Ridgemont data centre | Amara Sissoko | Register | RT-01, RT-02 | In scope — holds RT-01, RT-02 | Closed
SYS-060 | Analytical data backup and restore platform, QC laboratories | Ridgemont data centre | Amara Sissoko | Register | RT-12, RT-13 | In scope — holds RT-12, RT-13 | Closed
SYS-061 | Laboratory data archive and retention store | Cary | Amara Sissoko | Walk | RT-11, RT-12, RT-13 | In scope — holds RT-11, RT-12, RT-13 | Closed

## GxP, no Part 11 record - 35
ID | System | Location | Owner | Entry source | What it does, and why it holds no Part 11 record | Record types held
SYS-062 | Tablet hardness and friability tester network | Ridgemont | Dr Sunita Raghunathan | Register | In-process physical testing. Prints a signed ticket; retains no retrievable result and has no export capability — RT-09 | RT-09
SYS-063 | Tablet hardness and friability tester network | Cary | Dr Sunita Raghunathan | Register | As SYS-062 — RT-09 | RT-09
SYS-064 | Analytical balance network, QC laboratory | Ridgemont | Dr Sunita Raghunathan | Register | Weighing for laboratory testing. Prints a ticket affixed to the worksheet; holds no record after the ticket prints — RT-22 | RT-22
SYS-065 | Analytical balance network, QC laboratory | Cary | Dr Sunita Raghunathan | Register | As SYS-064 — RT-22 | RT-22
SYS-066 | Bench pH and conductivity meters, QC laboratory | Ridgemont | Dr Sunita Raghunathan | Walk | Single-value measurement. No storage and no export port — RT-23 | RT-23
SYS-067 | Bench pH and conductivity meters, QC laboratory | Cary | Dr Sunita Raghunathan | Walk | As SYS-066 — RT-23 | RT-23
SYS-068 | Portable temperature calibrator fleet | Ridgemont | Dr Sunita Raghunathan | Walk | Calibration checks under 21 CFR 211.68(a). Prints a certificate filed in the calibration record; retains nothing — RT-29 | RT-29
SYS-069 | Metal detector, packaging line 1 | Ridgemont | Bernard Kwiatkowski | Register | Detects and rejects. The rejection record is written by the line system — RT-08 at SYS-003 | None
SYS-070 | Metal detector, packaging line 2 | Ridgemont | Bernard Kwiatkowski | Register | As SYS-069, with the record at SYS-004 | None
SYS-071 | Deduster and tablet sorter controller | Ridgemont | Bernard Kwiatkowski | Register | Mechanical control only. Holds no record beyond the running shift | None
SYS-072 | Label printer controller, packaging line 1 | Ridgemont | Bernard Kwiatkowski | Register | Renders and prints label content supplied by the line system. Holds no issuance or reconciliation record — that is RT-07 at SYS-003 | None
SYS-073 | Label printer controller, packaging line 2 | Ridgemont | Bernard Kwiatkowski | Register | As SYS-072, with the record at SYS-004 | None
SYS-074 | Air handling unit local controller, manufacturing zone A | Ridgemont | Joachim Reuter | Register | Holds setpoints and acts on them. The trend record is acquired and retained upstream at SYS-051 — RT-27 | None
SYS-075 | Air handling unit local controller, manufacturing zone B | Ridgemont | Joachim Reuter | Register | As SYS-074 | None
SYS-076 | Dust extraction system controller | Ridgemont | Joachim Reuter | Register | Controls extraction in the compression and coating suites. No retained record | None
SYS-077 | Chilled water plant controller | Ridgemont | Joachim Reuter | Register | Utility control serving the manufacturing suites. No retained record | None
SYS-078 | Clean steam generator controller | Ridgemont | Joachim Reuter | Register | Utility control. No retained record | None
SYS-079 | Emergency power and uninterruptible supply monitoring, GxP areas | Ridgemont | Joachim Reuter | Register | Annunciates supply failures affecting GxP areas. No retained record required by a predicate rule | None
SYS-080 | Fire detection and suppression panel, manufacturing | Ridgemont | Bernard Kwiatkowski | Register | Life-safety control in a GxP area. No predicate-rule record | None
SYS-081 | Compressed air dryer controller | Ridgemont | Bernard Kwiatkowski | Register | Utility control. The quality monitoring record is at SYS-055 — RT-27 | None
SYS-082 | Laboratory glassware washer controller | Ridgemont | Dr Sunita Raghunathan | Register | Cycle control for laboratory glassware. No retained record | None
SYS-083 | Laboratory fume hood airflow monitor | Ridgemont | Dr Sunita Raghunathan | Register | Annunciates airflow outside limits. No retained record | None
SYS-084 | Sample storage refrigerator alarm units, QC laboratory | Ridgemont | Dr Sunita Raghunathan | Walk | Local alarm annunciation. The monitoring record is retained at SYS-045 — RT-32 | None
SYS-085 | Goods-in weighing scale, warehouse | Ridgemont | Bernard Kwiatkowski | Register | Prints a weight ticket attached to the receipt record. The receipt and release record is RT-34 at SYS-044 | None
SYS-086 | Warehouse barcode scanning terminals | Ridgemont | Bernard Kwiatkowski | Register | Terminals into the warehouse management system. Hold no record of their own | None
SYS-087 | Barcode label verifier, packaging hall | Ridgemont | Bernard Kwiatkowski | Register | Checks that a printed code is readable and correctly formed. Holds nothing that survives the shift | None
SYS-088 | Pallet wrapper controller | Ridgemont | Bernard Kwiatkowski | Register | Mechanical control. No retained record | None
SYS-089 | Warehouse dock temperature display units | Ridgemont | Bernard Kwiatkowski | Register | Local display only. The monitoring record is at SYS-045 — RT-32 | None
SYS-090 | Cap torque tester, packaging quality | Ridgemont | Bernard Kwiatkowski | Walk | In-process physical check. Prints a ticket attached to the in-process log; retains nothing | None
SYS-091 | Leak tester, blister line 1 | Ridgemont | Bernard Kwiatkowski | Register | In-process physical check. The result is recorded in the batch record — RT-01 at SYS-001 | None
SYS-092 | Leak tester, blister line 2 | Ridgemont | Bernard Kwiatkowski | Register | As SYS-091, with the record at SYS-001 | None
SYS-093 | Disintegration tester, QC laboratory | Ridgemont | Dr Sunita Raghunathan | Register | Prints a ticket attached to the worksheet; retains nothing | None
SYS-094 | Disintegration tester, QC laboratory | Cary | Dr Sunita Raghunathan | Register | As SYS-093 | None
SYS-095 | Melting point apparatus, QC laboratory | Ridgemont | Dr Sunita Raghunathan | Walk | Prints a ticket attached to the worksheet; retains nothing | None
SYS-096 | Refractometer, QC laboratory | Cary | Dr Sunita Raghunathan | Register | Prints a ticket attached to the worksheet; retains nothing | None

## Not GxP-relevant - 126
Range | Class | Count | What the class is
SYS-097 to SYS-110 | Finance and accounting | 14 | General ledger, accounts payable and receivable, fixed assets, treasury, expense management and financial reporting
SYS-111 to SYS-121 | Human resources and payroll | 11 | Core HR, payroll, recruitment, non-GxP policy acknowledgement, benefits and time and attendance
SYS-122 to SYS-130 | Commercial, sales and demand planning | 9 | Customer master, order intake, pricing, demand forecasting and commercial reporting
SYS-131 to SYS-153 | Corporate IT infrastructure and platform services | 23 | Virtualisation, storage, database and middleware platforms, service desk, monitoring, backup infrastructure and software distribution
SYS-154 to SYS-169 | Network, security and identity services | 16 | Network devices, firewalls, remote access, identity and directory services, endpoint protection and security monitoring
SYS-170 to SYS-187 | End-user computing and collaboration | 18 | Email, document collaboration, intranet, meeting and telephony services, and departmental productivity tools
SYS-188 to SYS-199 | Facilities, energy, site security and site services | 12 | Site security and badge access, car park, energy metering, catering, waste and building services outside the GxP areas
SYS-200 to SYS-206 | Health, safety and environment | 7 | Incident recording, permits to work, environmental discharge monitoring and safety training scheduling
SYS-207 to SYS-211 | Legal, insurance and company secretarial | 5 | Contract repository, insurance, entity records and board administration
SYS-212 to SYS-217 | Corporate communications and marketing | 6 | Internal communications, external web presence, media asset management and event administration
SYS-218 to SYS-222 | Indirect procurement and travel | 5 | Indirect purchasing, supplier master for non-GxP goods and services, travel and fleet