## Obligations
ID | The obligation | Where it comes from | What it serves | Where it lands | Owner
OB-01 | State, for each of the 34 in-scope record types, which instance Helix relies on as the original, and record the method by which a copy of it is demonstrated to be a true copy | DR-04, DR-08, DR-09, DR-11, DR-14 and the further scored rows carrying *original or a true copy* Not met | 21 CFR 211.180(d), 21 CFR 211.194(a) | 21 CFR 11.10(b) | Records retention schedule and archive procedure — exists and does not require the act | Priyanka Venkataraman
OB-02 | Record, on every system holding RT-05, the time at which an entry is captured as against the time of the act it records | DR-05, DR-70 | 21 CFR 211.182 | 21 CFR 11.10(e) | Equipment cleaning and use procedure — exists and requires the act | Bernard Kwiatkowski
OB-03 | Make the line clearance and packaging set-up record at the time of the clearance, on each of the five packaging systems | DR-07, DR-10, DR-13, DR-16, DR-19 | 21 CFR 211.100(b) | 21 CFR 11.10(e) | Line clearance and packaging set-up procedure — exists and requires the act | Joachim Reuter
OB-04 | Record the named individual to whom each entry in the specification, standard, analytical method and reference standard control record is attributable | DR-36, DR-39, DR-49, DR-66 | 21 CFR 211.160(a), with 21 CFR 211.22(c) for approval | 21 CFR 11.10(e) | Document control procedure — exists and requires the act | Terrence Abbatiello
OB-05 | Record which named individual held the credential in use for each acquisition on the laboratory instrument data systems | DR-41, DR-42, DR-43, DR-44, DR-45 | 21 CFR 211.194(a) | 21 CFR 11.10(d), (e) | Access administration procedure — exists and requires the act | Amara Sissoko
OB-06 | Record the individual who entered each stability time-point result | DR-37, DR-40 | 21 CFR 211.194(a), 21 CFR 211.166 | 21 CFR 11.10(e) | Stability programme procedure — exists and requires the act | Dr Sunita Raghunathan
OB-07 | Record the individual responsible for each purified water quality entry and each release decision taken on it | DR-48, DR-73 | 21 CFR 211.194(a)(7) | 21 CFR 11.10(e) | Purified water monitoring and release procedure — exists and requires the act | Joachim Reuter
OB-08 | Record the individual who acknowledges each warehouse continuous temperature and humidity entry | DR-62 | 21 CFR 211.142 | 21 CFR 11.10(e) | Warehouse storage-condition monitoring procedure — exists and does not require the act | Bernard Kwiatkowski
OB-09 | Record the individual who performed each calibration held on the maintenance management system | DR-71 | 21 CFR 211.160(b)(4), 21 CFR 211.68(a) | 21 CFR 11.10(e) | Calibration procedure — exists and requires the act | Bernard Kwiatkowski
OB-10 | Record the analyst against each environmental monitoring viable-count result | DR-72 | 21 CFR 211.194(a)(7) | 21 CFR 11.10(e) | Environmental monitoring procedure — exists and requires the act | Joachim Reuter
OB-11 | Demonstrate that each record can be rendered from the store that holds it in complete and readable form, with the context needed to understand it | DR-50, DR-56, DR-66, DR-67 | 21 CFR 211.180(e) | 21 CFR 11.10(b) | No procedure at all — IS-25 | Colm Ó Braonáin
OB-12 | Compare the record as held against the event or measurement it records, or against an independent instance of the same content, and record the comparison | DR-06, DR-51, DR-53, DR-54, DR-61, DR-68, DR-69 | 21 CFR 211.68(b), 21 CFR 211.192 | None — the predicate rule carries the requirement | Production and control record review procedure — exists and requires the act | Terrence Abbatiello
OB-13 | Specify, in the system validation plan for every system carrying a High-rated pair, the evidence required for each of 21 CFR 11.10's eleven paragraphs (a) to (k) | DR-05, DR-06, DR-22, DR-50, DR-51, DR-59, DR-60, DR-61, DR-70 — Phase 03's nine High | 21 CFR 211.68(a) | 21 CFR 11.10(a) to (k) | Computerised system validation procedure — exists and does not require the act | Colm Ó Braonáin
OB-14 | Record the date of each reserve sample inspection at the time of the inspection | DR-65 | 21 CFR 211.170(b) | 21 CFR 11.10(e) | Reserve sample procedure — exists and requires the act | Bernard Kwiatkowski
OB-15 | Produce an account administration record showing which named individual held the credential in use at the time of each entry on SYS-011 | ND-01 | 21 CFR 211.134(c) | 21 CFR 11.10(d), (e) | Access administration procedure — exists and requires the act | Amara Sissoko
OB-16 | Record, on SYS-021 and SYS-022, when a cleaning entry is captured as against when the cleaning was performed | ND-02, ND-03 | 21 CFR 211.182 | 21 CFR 11.10(e) | Equipment cleaning and use procedure — exists and requires the act | Joachim Reuter
OB-17 | State which instance of the chromatographic raw data file and acquisition metadata Helix relies on as the original, on SYS-023, SYS-024, SYS-036, SYS-060 and SYS-061 | ND-04, ND-09, ND-20, ND-43, ND-46 | 21 CFR 211.180(d), 21 CFR 211.194(a) | 21 CFR 11.10(b) | Chromatographic data acquisition and processing procedure — exists and does not require the act | Dr Sunita Raghunathan
OB-18 | Determine all five attributes for the chromatographic integration and reprocessing record on SYS-023 and SYS-024, on which nothing at all could be determined | ND-05, ND-10 | 21 CFR 211.194(a)(4) and (a)(5) | 21 CFR 11.10(a), (b), (e) | No procedure at all — IS-25 | Dr Sunita Raghunathan
OB-19 | Record, on SYS-023 and SYS-024, when a detector spectral and peak-purity entry is captured relative to the acquisition it belongs to | ND-06, ND-11 | 21 CFR 211.194(a), 21 CFR 211.100(b) | 21 CFR 11.10(e) | Chromatographic data acquisition and processing procedure — exists and requires the act | Dr Sunita Raghunathan
OB-20 | Record the basis on which a calibration curve or a result is recalculated, and the individual who recalculated it, on SYS-023 and SYS-024 | ND-07, ND-12 | 21 CFR 211.194(a)(4), 21 CFR 211.160(b)(4) | 21 CFR 11.10(e) | Laboratory testing and analytical method procedure — exists and requires the act | Dr Sunita Raghunathan
OB-21 | Compare the system suitability test record as held against the acquisition it records, on SYS-023 and SYS-024 | ND-08, ND-13 | 21 CFR 211.194(a)(4) with 21 CFR 211.165(e) | None — the predicate rule carries the requirement | Laboratory testing and analytical method procedure — exists and requires the act | Dr Sunita Raghunathan
OB-22 | Record the individual and the capture time for each dissolution profile data set on SYS-027 and SYS-028 | ND-14, ND-15 | 21 CFR 211.194(a), 21 CFR 211.100(b) | 21 CFR 11.10(d), (e) | Laboratory testing and analytical method procedure — exists and requires the act | Dr Sunita Raghunathan
OB-23 | Produce an account administration record for SYS-033 showing which named individual held the credential in use at the time of each entry | ND-16 | 21 CFR 211.194(a) | 21 CFR 11.10(d) | Access administration procedure — exists and requires the act | Amara Sissoko
OB-24 | Record the capture time and the relied-on instance of the differential pressure, temperature and humidity trend record on SYS-034, SYS-035, SYS-045, SYS-051, SYS-052, SYS-053, SYS-055 and SYS-058 | ND-17, ND-18, ND-27, ND-32, ND-33, ND-36, ND-37, ND-39 | 21 CFR 211.100(b), 21 CFR 211.188(b)(5) with 21 CFR 211.46(b) | 21 CFR 11.10(b), (e) | Environmental and utility monitoring procedure — exists and does not require the act | Joachim Reuter
OB-25 | Demonstrate that a record held in the laboratory data archive can be rendered in complete and readable form, on SYS-036 and SYS-061 | ND-19, ND-45 | 21 CFR 211.180(d) | 21 CFR 11.10(b), (c) | No procedure at all — IS-25 | Amara Sissoko
OB-26 | Record the capture time of each viable-count result on SYS-037, and the individual and the capture time of each viable-count trend on SYS-037, SYS-039 and SYS-053 | ND-22, ND-23, ND-24, ND-25, ND-35 | 21 CFR 211.100(b), 21 CFR 211.188(b)(5) with 21 CFR 211.113(a) | 21 CFR 11.10(d), (e) | Environmental monitoring procedure — exists and requires the act | Dr Sunita Raghunathan
OB-27 | Record the individual who performed each calibration held on SYS-040, and compare the record as held against the calibration it records | ND-26 | 21 CFR 211.160(b)(4), 21 CFR 211.68(a) | 21 CFR 11.10(d), (e) | Calibration procedure — exists and requires the act | Dr Sunita Raghunathan
OB-28 | State which instance of the warehouse continuous temperature and humidity monitoring record Helix relies on, and compare it against the measurement, on SYS-045, SYS-046 and SYS-052 | ND-28, ND-30, ND-34 | 21 CFR 211.180(d), 21 CFR 211.142 | 21 CFR 11.10(b) | Warehouse storage-condition monitoring procedure — exists and does not require the act | Bernard Kwiatkowski
OB-29 | Record the individual, the capture time and the relied-on instance for each warehouse temperature excursion search result on SYS-045 and SYS-046 | ND-29, ND-31 | 21 CFR 211.100(b) with 21 CFR 211.142(b) | 21 CFR 11.10(b), (d) | No procedure at all — IS-25 | Bernard Kwiatkowski
OB-30 | Record the individual and the relied-on instance for each finished product distribution record held on SYS-056 | ND-38 | 21 CFR 211.196 | 21 CFR 11.10(b), (d) | Serialisation and distribution procedure — exists and requires the act | Bernard Kwiatkowski
OB-31 | Record the individual and the relied-on instance for each reserve sample inventory and inspection record on SYS-058 | ND-40 | 21 CFR 211.170(b) | 21 CFR 11.10(b), (d) | Reserve sample procedure — exists and requires the act | Bernard Kwiatkowski
OB-32 | Demonstrate that the electronic batch production and control record and the electronic master production and control record can be rendered from SYS-059 in complete and readable form, and state which instance is the original | ND-41, ND-42 | 21 CFR 211.186 and 21 CFR 211.188 — the master record is 211.186's | 21 CFR 11.10(b), (c) | Records retention schedule and archive procedure — exists and does not require the act | Amara Sissoko
OB-33 | Record the capture time and the relied-on instance for the chromatographic integration and reprocessing record on SYS-036, SYS-060 and SYS-061, and compare each against an independent instance | ND-21, ND-44, ND-47 | 21 CFR 211.194(a)(4) and (a)(5) | 21 CFR 11.10(b), (e) | Records retention schedule and archive procedure — exists and does not require the act | Amara Sissoko
OB-34 | Assess every system in the estate on complexity and reliability, separately from data integrity risk, and record the determination with its basis | The method gap DP-15 — neither axis of Phase 03's scale is complexity and neither is reliability | 21 CFR 211.68(b), third sentence | None | Computerised system validation procedure — exists and does not require the act | Colm Ó Braonáin
OB-35 | Set the degree and frequency of input/output verification for each system from its complexity-and-reliability band, and from nothing else | The method gap DP-15 | 21 CFR 211.68(b), third sentence | None | No procedure at all — IS-25 | Colm Ó Braonáin
OB-36 | Check input to and output from each system of formulas or other records or data for accuracy, at every transfer between the systems holding the 31 record types held on more than one | Phase 03's IS-18 — the transfer between systems is assessed nowhere | 21 CFR 211.68(b), second sentence | None | Computerised system validation procedure — exists and does not require the act | Joachim Reuter
OB-37 | Require every system validation plan to specify the evidence that demonstrates the ability to discern invalid or altered records, separately from accuracy, reliability and consistent intended performance | The fourth clause of 21 CFR 11.10(a) | 21 CFR 211.68(a) | 21 CFR 11.10(a) | Computerised system validation procedure — exists and does not require the act | Colm Ó Braonáin
OB-38 | Record, for each of 21 CFR 11.10's eleven paragraphs (a) to (k), the evidence a validation package must produce, and record where that evidence does not yet exist | The fourth clause of 21 CFR 11.10(a) taken with DP-15 | 21 CFR 211.68(a) | 21 CFR 11.10(a) to (k) | Computerised system validation procedure — exists and does not require the act | Colm Ó Braonáin